## Submittal
SUBMITTAL DATA 2008 Rev 1 |  |  |  |  | Remote Panel |  |  |  |  | Work Order #
BTU Remote Panels are U.L./A.R.L. Listed Panels to be used with UL/ARL listed Duct Heaters. UL/ARL Listed Remote Panels will only have main terminal blocks and circuit fusing as standard. Remote Panels with other options are not listed.
Control panels and shrouds are of heavy galvanized steel, hinges and automatic latches are on all control boxes.
MOUNTED OPTIONS AVAILABLE WITH BTU HEATERS
1. | Full Line break contactor. | [6 empty] | 6. | Pilot Light Power On
2. | Circuit Fusing - 48 Amps or less | [6 empty] | 7. | SCR Control 100%
3. | Control Transformer | [6 empty] | 8. | Disconnect Switch
4. | Custom Dimensions | [6 empty] | Notes:
5. | Pilot Light per stage
ITEM # | QTY | MODEL NUMBER | TOTAL KW | ELECTRICAL RATING | TOTAL AMPS | MCA | MOCP | STAGES | OPTIONS BY # |  | DIMENSIONS IN INCHES
[11 empty] | C | D | E